ADC for Continuous Readout Digitizing Imager Array
Primary measurement results of the Test-IC (4 ADCs)
Hans Krueger, Tomasz Hemperek and Lamine Hafiane

---
Nomenclature
Highlights!
- The 4 ADCs are fully functioning and the first results are very encouraging!
- So far we have tested 2 ICs
- We are still optimizing the test workbench Firmware / Software / Hardware
! Work on progress!

---
Overview of the Test-IC (designer : Tianyang Wang)
Top level Layout
decap
4 comparator channels
ADCs

---
Overview of the Test-IC (designer : Tianyang Wang)
Top level schematic
4 channels of comparator (only 1 design for now)
3-8 decoder
Output multiplexer
4 channels of ADC (3 designs for now)
Analog switches

---
Overview of the Test-IC (designer : Tianyang Wang)
ADC scheme
ADC00	BSS	TESTED: OK
ADC01	CRC	TESTED: OK
ADC02	BSS RE	TESTED: OK
ADC03	BSS AW RE	TESTED: OK
BSS switching – Bidirectional Single-Sided switching
CRS – Correlated reverse switching
AW – attenuated weighting
RE – short for redundancy here

---
Testing workbench
Overview

---
Testing workbench
Hardware
BASIL
environment
DUT
FPGA
USB controller
SRAM
…...
DACs
ADCs
Power supplies
LVDS digital Ios
--------
USB
MIO
GPAC

---
Testing workbench
Hardware
MIO2
GPAG
DUT

---
Testing workbench
ADC control signals

---
Testing workbench
Firmware diagram

---
Measurement results
INL/DNL

---
Measurement results
INL/DNL

---
Measurement results
Noise evaluation

---
Thanks ...